## Repeatability Test
Output from distanceSensor.ino with sensor initially at maximum extent bolted to desk with the tip on the desk.
RAW ADC | Calibrated (microns) |  | selected only
Hello!
Getting single-ended readings from AIN0..3 |  |  |  |  | Statistics
ADC Range: +/- 6.144V (1 bit | 3mV) |  |  | Small movement of rod of PY2 sensor |  | Average | 2.164
330.1 | 0.1 |  |  |  |  | standard deviation | 5.2635
330.05 | 0.1
329.8 | 0 |  |  | Large movement of rod of PY2 sensor |  | Average | -13.5629
330 | 0.1 |  |  |  |  | standard deviation | 9.7533
330.15 | 0.2
330.05 | 0.1
329.85 | 0
329.85 | 0
329.95 | 0.1
330.1 | 0.1
330.05 | 0.1
329.85 | 0
329.95 | 0.1
329.95 | 0.1
330.1 | 0.1
329.8 | 0
330 | 0.1
330.1 | 0.1
330 | 0.1
330 | 0.1
329.95 | 0.1
330 | 0.1
329.8 | 0
329.85 | 0
330.05 | 0.1
330 | 0.1
330 | 0.1
330 | 0.1
330 | 0.1
330 | 0.1
330 | 0.1
330 | 0.1
330 | 0.1
329.95 | 0.1
330.05 | 0.1
330.05 | 0.1
330 | 0.1
330.05 | 0.1
330 | 0.1
329.95 | 0.1
329.9 | 0
329.95 | 0.1
329.9 | 0
329.7 | -0.1
330.55 | 0.4
330.1 | 0.1
330.3 | 0.3
329.95 | 0.1
330.05 | 0.1
330.25 | 0.2
329.75 | -0.1
330 | 0.1
329.75 | -0.1
329.7 | -0.1
330.35 | 0.3
329.85 | 0
330.05 | 0.1
329.65 | -0.1
329.8 | 0
329.75 | -0.1
329.65 | -0.1
330.05 | 0.1
330.3 | 0.3
329.6 | -0.1
329.7 | -0.1
329.9 | 0
329.95 | 0.1
329.9 | 0 | 0
329.9 | 0 | 1 | 0
327.6 | -1.3 | 2 | -1.3
325.1 | -2.7 | 3 | -2.7
322.5 | -4.2 | 4 | -4.2
632.2 | 174.5 | 4
1560.7 | 710.5 | 4
2823.05 | 1439.2 | 4
2146.5 | 1048.7 | 4
341.25 | 6.6 | 5 | 6.6
336.1 | 3.6 | 6 | 3.6
335.95 | 3.5 | 7 | 3.5
335.9 | 3.5 | 8 | 3.5
335.65 | 3.3 | 9 | 3.3
341.7 | 6.8 | 10 | 6.8
603.65 | 158.1 | 10
1056.3 | 419.4 | 10
323.45 | -3.7 | 11 | -3.7
323.3 | -3.8 | 12 | -3.8
323.45 | -3.7 | 13 | -3.7
323.5 | -3.7 | 14 | -3.7
334.65 | 2.8 | 15 | 2.8
507.5 | 102.6 | 15
1273.95 | 545 | 15
387.7 | 33.4 | 15
317.9 | -6.9 | 16 | -6.9
317.9 | -6.9 | 17 | -6.9
318.5 | -6.6 | 18 | -6.6
326.15 | -2.1 | 19 | -2.1
772.45 | 255.5 | 19
1102 | 445.7 | 19
338.25 | 4.8 | 20 | 4.8
338 | 4.7 | 21 | 4.7
337.95 | 4.7 | 22 | 4.7
338.35 | 4.9 | 23 | 4.9
544.4 | 123.9 | 23
1288.45 | 553.4 | 23
434.45 | 60.4 | 23
336.95 | 4.1 | 24 | 4.1
336.9 | 4.1 | 25 | 4.1
337.75 | 4.6 | 26 | 4.6
708.65 | 218.7 | 26
1283.25 | 550.4 | 26
325.3 | -2.6 | 27 | -2.6
325 | -2.8 | 28 | -2.8
327.95 | -1.1 | 29 | -1.1
469.05 | 80.4 | 29
1527.2 | 691.2 | 29
899.75 | 329 | 29
324 | -3.4 | 30 | -3.4
323.85 | -3.5 | 31 | -3.5
326.35 | -2 | 32 | -2
688.7 | 207.1 | 32
979.3 | 374.9 | 32
330.4 | 0.3 | 33 | 0.3
330.2 | 0.2 | 34 | 0.2
331.25 | 0.8 | 35 | 0.8
352.95 | 13.3 | 36 | 13.3
1030.85 | 404.7 | 36
830.6 | 289.1 | 36
332.05 | 1.3 | 37 | 1.3
331.8 | 1.1 | 38 | 1.1
567.85 | 137.4 | 38
939.65 | 352 | 38
330.7 | 0.5 | 39 | 0.5
326.9 | -1.7 | 40 | -1.7
511.3 | 104.7 | 40
857.5 | 304.6 | 40
327.1 | -1.6 | 41 | -1.6
326.75 | -1.8 | 42 | -1.8
381 | 29.5 | 42
942.3 | 353.5 | 42
482.35 | 88 | 42
326.3 | -2 | 43 | -2
326.25 | -2.1 | 44 | -2.1
326.1 | -2.2 | 45 | -2.2
1305.1 | 563 | 45
1795.5 | 846.1 | 45
392.6 | 36.2 | 45
324 | -3.4 | 46 | -3.4
748.55 | 241.7 | 46
1341.3 | 583.9 | 46
328.6 | -0.7 | 47 | -0.7
327.45 | -1.4 | 48 | -1.4
550.7 | 127.5 | 48
802.4 | 272.8 | 48
416.05 | 49.8 | 48
330.7 | 0.5 | 49 | 0.5
1589.55 | 727.2 | 49
1521.9 | 688.1 | 49
331.7 | 1.1 | 50 | 1.1
331.3 | 0.8 | 51 | 0.8
454.6 | 72 | 51
499.75 | 98.1 | 51
326.2 | -2.1 | 52 | -2.1
328 | -1.1 | 53 | -1.1
1010 | 392.6 | 53
683.85 | 204.4 | 53
333.75 | 2.3 | 54 | 2.3
332.5 | 1.5 | 55 | 1.5
334.25 | 2.5 | 56 | 2.5
329.5 | -0.2 | 57 | -0.2
328.45 | -0.8 | 58 | -0.8
329.65 | -0.1 | 59 | -0.1
362.45 | 18.8 | 60 | 18.8
469.75 | 80.8 | 60
399.4 | 40.1 | 60
329 | -0.5 | 61 | -0.5
330.35 | 0.3 | 62 | 0.3
809.15 | 276.7 | 62
549.3 | 126.7 | 62
328 | -1.1 | 63 | -1.1
351.75 | 12.6 | 64 | 12.6
1022.05 | 399.6 | 64
568.2 | 137.6 | 64
329.65 | -0.1 | 65 | -0.1
345.55 | 9.1 | 66 | 9.1
567.55 | 137.2 | 66
376.9 | 27.2 | 66
334.1 | 2.5 | 67 | 2.5
537.2 | 119.7 | 67
1660.85 | 768.3 | 67
326.3 | -2 | 68 | -2
324.1 | -3.3 | 69 | -3.3
429.35 | 57.4 | 69
622.9 | 169.2 | 69
361.5 | 18.3 | 70 | 18.3
333.6 | 2.2 | 71 | 2.2
644.35 | 181.5 | 71
1342.6 | 584.6 | 71
327.3 | -1.5 | 72 | -1.5
327.05 | -1.6 | 73 | -1.6
766.7 | 252.2 | 73
969.35 | 369.2 | 73
330.05 | 0.1 | 74 | 0.1
334.95 | 2.9 | 75 | 2.9
877.3 | 316 | 75
498.15 | 97.2 | 75
328.15 | -1 | 76 | -1
331.55 | 1 | 77 | 1
949.45 | 357.7 | 77
623.75 | 169.7 | 77
335.4 | 3.2 | 78 | 3.2
345.65 | 9.1 | 79 | 9.1
1202.25 | 503.6 | 79
1063.8 | 423.7 | 79
340.35 | 6.1 | 80 | 6.1
341.5 | 6.7 | 81 | 6.7
609.1 | 161.2 | 81
491.25 | 93.2 | 81
328.35 | -0.9 | 82 | -0.9
395.9 | 38.1 | 82
1411.05 | 624.1 | 82
981.7 | 376.3 | 82
340.5 | 6.1 | 83 | 6.1
341.25 | 6.6 | 84 | 6.6
810.95 | 277.7 | 84
986.75 | 379.2 | 84
334.25 | 2.5 | 85 | 2.5
339.45 | 5.5 | 86 | 5.5
395.9 | 38.1 | 86
457.2 | 73.5 | 86
346.6 | 9.7 | 87 | 9.7
349.75 | 11.5 | 88 | 11.5
1244.65 | 528.1 | 88
2232.15 | 1098.1 | 88
330.15 | 0.2 | 89 | 0.2
334.9 | 2.9 | 90 | 2.9
1014.75 | 395.4 | 90
1290.15 | 554.3 | 90
337.35 | 4.3 | 91 | 4.3
462.75 | 76.7 | 91
1564.3 | 712.6 | 91
797.5 | 270 | 91
335.5 | 3.3 | 92 | 3.3
464.75 | 77.9 | 92
1201.65 | 503.3 | 92
558.6 | 132 | 92
340.8 | 6.3 | 93 | 6.3
620.65 | 167.9 | 93
1225 | 516.7 | 93
498.9 | 97.6 | 93
346.45 | 9.6 | 94 | 9.6
705.15 | 216.6 | 94
1201.7 | 503.3 | 94
688 | 206.7 | 94
355.7 | 14.9 | 95 | 14.9
704.3 | 216.2 | 95
1295.35 | 557.3 | 95
447 | 67.6 | 95
342.3 | 7.2 | 96 | 7.2
759.15 | 247.8 | 96
1523.8 | 689.2 | 96
346.5 | 9.6 | 97 | 9.6
333.45 | 2.1 | 98 | 2.1
412.85 | 47.9 | 98
731.95 | 232.1 | 98
556 | 130.5 | 98
357.1 | 15.7 | 99 | 15.7
785.15 | 262.8 | 99
1215.3 | 511.1 | 99
683.1 | 203.9 | 99
349.85 | 11.5 | 100 | 11.5
795.6 | 268.9 | 100
1367.35 | 598.9 | 100
422.35 | 53.4 | 100
349.45 | 11.3 | 101 | 11.3
1477 | 662.2 | 101
2504.45 | 1255.3 | 101
362.05 | 18.6 | 102 | 18.6
443.6 | 65.7 | 102
1534.95 | 695.7 | 102
1029.2 | 403.7 | 102
348.1 | 10.5 | 103 | 10.5
359.75 | 17.3 | 104 | 17.3
2036.8 | 985.4 | 104
5417.5 | 2936.9 | 104
7759.05 | 4288.6 | 104
9983.75 | 5572.8 | 104
12362.35 | 6945.9 | 104
10274.75 | 5740.8 | 104
4152.7 | 2206.8 | 104
322.2 | -4.4 | 105 | -4.4
333.5 | 2.1 | 106 | 2.1
3848.6 | 2031.2 | 106
9184.25 | 5111.3 | 106
13174.45 | 7414.7 | 106
8729.3 | 4848.7 | 106
3302.35 | 1715.9 | 106
308.8 | -12.2 | 107 | -12.2
1788.95 | 842.3 | 107
6807.15 | 3739.1 | 107
11239.8 | 6297.9 | 107
11691.85 | 6558.8 | 107
5699.55 | 3099.7 | 107
1335.35 | 580.4 | 107
311.75 | -10.4 | 108 | -10.4
2744.1 | 1393.7 | 108
9376.7 | 5222.4 | 108
13155.4 | 7403.7 | 108
8372 | 4642.4 | 108
2537.4 | 1274.3 | 108
290.7 | -22.6 | 108
291.45 | -22.2 | 108
1949.9 | 935.2 | 108
8053.85 | 4458.8 | 108
10166.25 | 5678.2 | 108
2884.2 | 1474.5 | 108
307.45 | -12.9 | 109 | -12.9
306.25 | -13.6 | 110 | -13.6
664.25 | 193 | 110
8839.9 | 4912.5 | 110
14715.05 | 8304 | 110
9304.95 | 5181 | 110
1329 | 576.8 | 110
284 | -26.5 | 110
283.8 | -26.6 | 110
283.15 | -27 | 110
282.65 | -27.2 | 110
2272.5 | 1121.4 | 110
12010.55 | 6742.8 | 110
10375.3 | 5798.8 | 110
1235.7 | 522.9 | 110
301.1 | -16.6 | 111 | -16.6
301 | -16.7 | 112 | -16.7
301 | -16.7 | 113 | -16.7
302.35 | -15.9 | 114 | -15.9
305 | -14.3 | 115 | -14.3
2128.6 | 1038.3 | 115
11318.75 | 6343.5 | 115
10951.3 | 6131.3 | 115
2328.3 | 1153.6 | 115
295.25 | -20 | 116 | -20
294.95 | -20.1 | 116
295 | -20.1 | 116
294.95 | -20.1 | 116
338.6 | 5.1 | 117 | 5.1
9258.8 | 5154.3 | 117
15440.15 | 8722.6 | 117
7828.55 | 4328.7 | 117
1351.4 | 589.7 | 117
295.85 | -19.6 | 118 | -19.6
295.3 | -19.9 | 119 | -19.9
295.3 | -19.9 | 120 | -19.9
295 | -20.1 | 120
493.95 | 94.7 | 120
11305.05 | 6335.5 | 120
16447.45 | 9304.1 | 120
2591.2 | 1305.4 | 120
294.1 | -20.6 | 120
293.8 | -20.8 | 120
293.1 | -21.2 | 120
291.6 | -22.1 | 120
454.3 | 71.8 | 120
12051.05 | 6766.2 | 120
13274.7 | 7472.5 | 120
834.15 | 291.1 | 120
289.4 | -23.4 | 120
289.1 | -23.5 | 120
288.35 | -24 | 120
288 | -24.2 | 120
1665.85 | 771.2 | 120
15052 | 8498.5 | 120
14646.35 | 8264.3 | 120
1380 | 606.2 | 120
297.2 | -18.8 | 121 | -18.8
296.85 | -19 | 122 | -19
295.95 | -19.6 | 123 | -19.6
293.8 | -20.8 | 123
753.65 | 244.6 | 123
13474.4 | 7587.8 | 123
13445.55 | 7571.2 | 123
886.6 | 321.4 | 123
271.75 | -33.5 | 123
271.2 | -33.9 | 123
270.3 | -34.4 | 123
269.3 | -35 | 123
3151.15 | 1628.6 | 123
16607.5 | 9396.4 | 123
16511.45 | 9341 | 123
3538.7 | 1852.3 | 123
282.1 | -27.6 | 123
276.7 | -30.7 | 123
273.85 | -32.3 | 123
271.2 | -33.9 | 123
268.25 | -35.6 | 123
2717.4 | 1378.2 | 123
16180.75 | 9150.1 | 123
15404.95 | 8702.3 | 123
1944.45 | 932 | 123
263 | -38.6 | 123
263 | -38.6 | 123
262.75 | -38.7 | 123
261.95 | -39.2 | 123
2040.7 | 987.6 | 123
12894.65 | 7253.2 | 123
7067.95 | 3889.6 | 123
1032.25 | 405.5 | 123
287.85 | -24.2 | 123
287.45 | -24.5 | 123
285.8 | -25.4 | 123
285 | -25.9 | 123
2936.6 | 1504.8 | 123
12859.9 | 7233.1 | 123
10480.95 | 5859.8 | 123
2110.2 | 1027.7 | 123
264.3 | -37.8 | 123
264 | -38 | 123
263.95 | -38 | 123
263.65 | -38.2 | 123
282.25 | -27.5 | 123
8628.4 | 4790.4 | 123
11916.9 | 6688.7 | 123
1346.35 | 586.8 | 123
270.7 | -34.1 | 123
269.25 | -35 | 123
268.25 | -35.6 | 123
267.7 | -35.9 | 123
6307.55 | 3450.7 | 123
10969.35 | 6141.8 | 123
2330.95 | 1155.2 | 123
266.7 | -36.5 | 123
266.2 | -36.7 | 123
266 | -36.9 | 123
1488.1 | 668.6 | 123
10131.75 | 5658.2 | 123
11098.5 | 6216.3 | 123
3308.05 | 1719.2 | 123
310.9 | -10.9 | 124 | -10.9
266.8 | -36.4 | 124
266 | -36.9 | 124
266.05 | -36.8 | 124
5058.15 | 2729.5 | 124
12094.85 | 6791.5 | 124
6845.45 | 3761.2 | 124
802.8 | 273 | 124
270.8 | -34.1 | 124
270.3 | -34.4 | 124
270.05 | -34.5 | 124
270 | -34.5 | 124
1591.75 | 728.4 | 124
8832.55 | 4908.3 | 124
8074.55 | 4470.7 | 124
2957.9 | 1517.1 | 124
436.25 | 61.4 | 124
265.85 | -36.9 | 124
266 | -36.9 | 124
265.75 | -37 | 124
2695.3 | 1365.5 | 124
10654.9 | 5960.2 | 124
8493.2 | 4712.4 | 124
2054.3 | 995.5 | 124
273.25 | -32.7 | 124
272.2 | -33.3 | 124
271.25 | -33.8 | 124
4485.25 | 2398.7 | 124
10213 | 5705.2 | 124
4822.7 | 2593.5 | 124
503.4 | 100.2 | 124
270.9 | -34 | 124
270.2 | -34.4 | 124
270 | -34.5 | 124
611.95 | 162.8 | 124
8194.85 | 4540.2 | 124
8817.9 | 4899.8 | 124
1264.35 | 539.4 | 124
268.7 | -35.3 | 124
267.95 | -35.7 | 124
267.1 | -36.2 | 124
266.9 | -36.3 | 124
4781.95 | 2570 | 124
11556.7 | 6480.8 | 124
4278.9 | 2279.6 | 124
351.75 | 12.6 | 125 | 12.6
267.1 | -36.2 | 125
267 | -36.3 | 125
267 | -36.3 | 125
266.95 | -36.3 | 125
701.05 | 214.3 | 125
8181.55 | 4532.5 | 125
7462.65 | 4117.5 | 125
850.45 | 300.5 | 125
267.1 | -36.2 | 125
273.95 | -32.3 | 125
287 | -24.7 | 125
291 | -22.4 | 125
1468.2 | 657.1 | 125
4171.15 | 2217.4 | 125
2500.95 | 1253.3 | 125
276.1 | -31 | 125
276 | -31.1 | 125
284.6 | -26.1 | 125
285.95 | -25.3 | 125
285.65 | -25.5 | 125
286.1 | -25.3 | 125
3414.1 | 1780.4 | 125
6899.45 | 3792.4 | 125
3564.65 | 1867.3 | 125
326.6 | -1.9 | 126 | -1.9
293.2 | -21.2 | 126
294.2 | -20.6 | 126
294.3 | -20.5 | 126
311.45 | -10.6 | 127 | -10.6
4406.7 | 2353.4 | 127
5668.6 | 3081.8 | 127
704 | 216 | 127
282.75 | -27.2 | 127
287.25 | -24.6 | 127
287.1 | -24.7 | 127
287.1 | -24.7 | 127
287.2 | -24.6 | 127
2342.45 | 1161.8 | 127
7108.2 | 3912.9 | 127
2772.4 | 1410 | 127
286.55 | -25 | 127
290.9 | -22.5 | 127
290.9 | -22.5 | 127
290.95 | -22.5 | 127
297.25 | -18.8 | 128 | -18.8
4592.6 | 2460.7 | 128
8693.85 | 4828.2 | 128
2387.4 | 1187.7 | 128
290.05 | -23 | 128
290 | -23 | 128
290 | -23 | 128
290 | -23 | 128
5003.15 | 2697.7 | 128
9866.55 | 5505.2 | 128
9870.3 | 5507.3 | 128
5026.1 | 2711 | 128
281.7 | -27.8 | 128
281 | -28.2 | 128
280.8 | -28.3 | 128
280.4 | -28.5 | 128
280.15 | -28.7 | 128
279.9 | -28.8 | 128
4018.1 | 2129.1 | 128
10776.55 | 6030.5 | 128
6686.9 | 3669.7 | 128
311.5 | -10.6 | 129 | -10.6
278.95 | -29.4 | 129
278.65 | -29.6 | 129
278.25 | -29.8 | 129
278.1 | -29.9 | 129
278 | -29.9 | 129
3048.25 | 1569.2 | 129
11598.45 | 6504.9 | 129
7681.6 | 4243.9 | 129
890.2 | 323.5 | 129
277.8 | -30 | 129
276.95 | -30.5 | 129
275.15 | -31.6 | 129
273.7 | -32.4 | 129
703 | 215.4 | 129
7857.25 | 4345.3 | 129
7287.3 | 4016.3 | 129
764 | 250.6 | 129
278.9 | -29.4 | 129
287.95 | -24.2 | 129
287.95 | -24.2 | 129
287.9 | -24.2 | 129
287.8 | -24.3 | 129
288.4 | -23.9 | 129
918.3 | 339.7 | 129
9358.4 | 5211.8 | 129
12665.7 | 7121 | 129
3383.05 | 1762.5 | 129
287.25 | -24.6 | 129
291.95 | -21.9 | 129
292 | -21.8 | 129
291.85 | -21.9 | 129
291.95 | -21.9 | 129
291.8 | -22 | 129
318.6 | -6.5 | 130 | -6.5
8449.6 | 4687.2 | 130
11251.15 | 6304.4 | 130
1508.75 | 680.5 | 130
284.5 | -26.2 | 130
285.6 | -25.5 | 130
285.4 | -25.7 | 130
285.2 | -25.8 | 130
285.55 | -25.6 | 130
285.35 | -25.7 | 130
292.8 | -21.4 | 130
6784.7 | 3726.1 | 130
15804.55 | 8932.9 | 130
11923.3 | 6692.4 | 130
2122.85 | 1035 | 130
299.85 | -17.3 | 131 | -17.3
299.5 | -17.5 | 132 | -17.5
299.5 | -17.5 | 133 | -17.5
299.15 | -17.7 | 134 | -17.7
299.3 | -17.6 | 135 | -17.6
306.3 | -13.6 | 136 | -13.6
7464.05 | 4118.3 | 136
17149.8 | 9709.5 | 136
10348.2 | 5783.2 | 136
847.85 | 299 | 136
297.5 | -18.7 | 137 | -18.7
298 | -18.4 | 138 | -18.4
298.1 | -18.3 | 139 | -18.3
298 | -18.4 | 140 | -18.4
298.05 | -18.4 | 141 | -18.4
298.05 | -18.4 | 142 | -18.4
298 | -18.4 | 143 | -18.4
298.05 | -18.4 | 144 | -18.4
298.05 | -18.4 | 145 | -18.4
298 | -18.4 | 146 | -18.4
298 | -18.4 | 147 | -18.4
298.05 | -18.4 | 148 | -18.4
298 | -18.4 | 149 | -18.4
298 | -18.4 | 150 | -18.4
298 | -18.4 | 151 | -18.4
298 | -18.4 | 152 | -18.4
298 | -18.4 | 153 | -18.4
298 | -18.4 | 154 | -18.4
298 | -18.4 | 155 | -18.4
298 | -18.4 | 156 | -18.4
298 | -18.4 | 157 | -18.4
298 | -18.4 | 158 | -18.4
298 | -18.4 | 159 | -18.4
298 | -18.4 | 160 | -18.4
298 | -18.4 | 161 | -18.4
297.95 | -18.4 | 162 | -18.4
298 | -18.4 | 163 | -18.4
298 | -18.4 | 164 | -18.4
298 | -18.4 | 165 | -18.4
298 | -18.4 | 166 | -18.4
298 | -18.4 | 167 | -18.4
298 | -18.4 | 168 | -18.4
298 | -18.4 | 169 | -18.4

## Calibration check
Actual distance (mm) | ADC readng | Calibrated Output |  | Residuals
0 | 17701.45
1.27 | 17665.8
1.55 | 17648.2
3.09 | 15154 | -1470.4 | -1.4704 | 1.6196 | -0.44088 | 3.1955 | -0.10549
4.1 | 13305.3 | -2537.6 | -2.5376 | 1.5624 | -0.49808 | 4.3462 | -0.24624
5.2 | 12259.95 | -3141 | -3.141 | 2.059 | -0.00148 | 4.9969 | 0.20313
6.33 | 10676.85 | -4054.9 | -4.0549 | 2.2751 | 0.21462 | 5.9823 | 0.34768
7.39 | 8432.95 | -5350.2 | -5.3502 | 2.0398 | -0.02068 | 7.379 | 0.010983
8.28 | 6737.9 | -6328.7 | -6.3287 | 1.9513 | -0.10918 | 8.4341 | -0.15412
9.29 | 5480.05 | -7054.8 | -7.0548 | 2.2352 | 0.17472 | 9.2171 | 0.072942
10.45 | 3486 | -8205.9 | -8.2059 | 2.2441 | 0.18362 | 10.4583 | -0.0082704
11.55 | 1413.85 | -9402 | -9.402 | 2.148 | 0.08752 | 11.748 | -0.19801
12.45 | 413.15 | -9979.7 | -9.9797 | 2.4703 | 0.40982 | 12.3709 | 0.079071
13.63 | 65
|  |  | average | 2.0605 | 0.28688 |  | 0.18518
(a)
(b)